## Slide 1: Safety Monitoring in Hazardous Goods Warehouse
Team Members:
1. Malaravan S
2. Mitun T S
3. Mohithaa K
4. Monish Kiran A
5. Mukhil R
6. Murikinati Dheeraj Kumar Reddy
7. Nandan Rajesh

## Slide 2
Content
Project Overview
Problem Statement
Project Goal & Observations
Proposed Solution
Resources Utilized
System Design
Implemented Details
Results and Observations

## Slide 3
Brief Introduction: This project develops a smart safety system for hazardous goods warehouses by integrating:
Raspberry Pi Pico – as the central microcontroller for sensor interfacing and control
IR-based Flame Sensor – for rapid fire detection
BME680 Sensor – for monitoring temperature, humidity, and gas concentration
OLED Display – to visually present real-time sensor readings for on-site monitoring
The system continuously monitors environmental conditions and triggers alerts when unsafe situations are detected.
Purpose of Combining Embedded Systems with Machine Learning (ML)
- Embedded Systems handle real-time sensor data collection.
- ML analyzes historical data to detect anomalies early.
- Enables predictive safety by identifying risks before accidents occur.
- Supports proactive decision-making and reduces accident risks.
Project Overview

## Slide 4
Problem Statement
Problem Description:
Hazardous materials require constant monitoring for fire, gas leaks, and environmental conditions. Fire, BME680, and DHT11 sensors collect temperature, gas, and humidity data, which is transmitted to the cloud. ML models detect early signs of danger. Data analytics supports historical trend analysis, event correlation, and predictive alerts. Visualization tools display environmental patterns, helping to trigger automated safety protocols and reduce accident risks.
Why It Matters:
  Protects Human Safety: Early alerts prevent injury or loss of life in high-risk environments.
  Safeguards Assets: Avoids costly damage and supply chain disruptions.
  Regulatory Compliance: Ensures adherence to safety standards (OSHA, NFPA).
  Predictive Intelligence: ML models detect risks before they become critical.
  Environmental Responsibility: Prevents harmful gas leaks and spills.
  Automation & Efficiency: IoT systems enable faster, automated safety responses.

## Slide 5
Main Project Goal: Design an intelligent safety monitoring system for hazardous warehouses using sensors, cloud-based communication, and ML for real-time detection and automated safety responses.
Objective 1: Real-Time Monitoring
Transmit temperature, gas, and humidity data to the cloud via ThingSpeak.
Objective 2: Hazard Detection Accuracy
Deploy ML models to detect fire/gas threats with ≥ 90% accuracy.
Objective 3: Alert Response Time
Trigger alerts within 3 seconds of abnormal environmental conditions.
Objective 4: Visualization & Compliance
Generate weekly safety reports and maintain 100% uptime on the cloud dashboard.
Project Goal & Objectives

## Slide 6
Proposed Solution
Architectural Design

## Slide 7
Circuit Diagram

## Slide 8
Proposed Solution
1. Sensor Data Acquisition (Embedded System):
The Raspberry Pi Pico W collects real-time environmental data from the BME680 sensor (temperature, humidity, gas) and flame sensor.
Data is displayed on an OLED screen and indicated via LED/buzzer alerts if thresholds are crossed.
2. Data Transmission:
Collected data is transmitted from the Raspberry Pi Pico to the ThingSpeak cloud platform over Wi-Fi.
Each entry includes a timestamped record with an additional field — Alarm Status — determined by preset thresholds.
3. ML Pipeline (Offline/Cloud-based):
The ThingSpeak data is exported as a CSV file for further analysis.
Using Python, the data is labeled and fed into an ML model to detect early warning signs even before thresholds are crossed.
Models like Logistic Regression, Random Forest, or XGBoost can be trained to predict potential hazards.
How Embedded System + ML is integrated

## Slide 9
Hardware:
  Raspberry Pi Pico – Microcontroller unit
  BME680 Sensor – Measures temperature, humidity, and gas resistance
  SSD1306 OLED Panel – Displays sensor readings and alarm status
  LED – Visual alert for threshold breaches
  Flame Sensor – Detect the presence of flames
Software & Tools:
  Thonny IDE – MicroPython development
  Wokwi – Circuit design and simulation
  ThingSpeak – Cloud data logging and visualization
  Excel/Python – ML analysis on exported data
  PowerBI – Data visualization and dashboard
Datasets / ML Models:
  Source: Exported ThingSpeak data (CSV)
  Type: Time-series sensor data with temperature, humidity, gas resistance, and alarm status
  Size: Several hundred records
  ML Task: Predict hazardous conditions using threshold-based classification
Resources Utilized

## Slide 10
System Design
Embedded Interactions
Flow Chart
Flowchart

## Slide 11
Step 1: Ideation & Planning
Step 2: Simulation on Wokwi
Step 3: Transition to Hardware
Step 4: Data Generation & ML Modeling
Implementation Details

## Slide 12
Dataset
ThingSpeak Exported CSV FIle

## Slide 13
Dataset
Final Dataset

## Slide 14
Results & Observations : PowerBI
Dashboard

## Slide 15
EDA: Explored the dataset to understand feature distributions, detect missing values, and uncover hidden patterns.
Preprocessing: Cleaned and transformed the data using encoding, scaling, and handling missing values to prepare it for modeling.
Training: Trained the XGBoost Classifier model using labeled data to learn patterns and make accurate predictions.
Evaluation Matrix: Assessed model performance using confusion matrix, precision, recall, and F1-score for each target class.
ML Model : XGBoost Classifier

## Slide 16
Accuracy of the model
Performance of the embedded system
Results & Observations

## Slide 17
Key Benefits
  Real-time hazard detection with automatic alerts through ThingSpeak and buzzer
  Scalable system design supporting ML model integration for predictive safety
  Low-power embedded solution using Raspberry Pi Pico W and BME680
  Cloud connectivity enables remote monitoring and centralized data logging
  Cost-effective setup using open-source tools and affordable hardware
Limitations
  Internet dependency for real-time cloud communication and ML inference
  Limited on-device processing power restricts local ML model deployment
  Synthetic dataset used for training – model may need retraining on real-world data
  Latency in cloud-based predictions depending on network conditions
  Security concerns if MQTT/HTTP communication isn't encrypted
Advantages & Limitations

## Slide 18
Scalability & Improvements:
  Integrate additional sensors (CO₂, motion, flame) for enhanced safety
  Implement edge ML on Raspberry Pi Pico for real-time anomaly prediction
  Enable wireless communication (LoRa, GSM) for remote sites
  Add mobile alerts (SMS/email) via IFTTT or Twilio
  Support multi-node deployments for larger warehouses
Integrate ML predictions into live system (via cloud or edge inference)
  Automatically reflect predictions on OLED and trigger alerts
Real-World Deployment Possibilities:
  Industrial warehouses with flammable or perishable goods
  Cold storage and food preservation units
  Smart building infrastructure and data centers
  Healthcare environments requiring controlled atmospheres
  Government and defense storage for hazard detection
Future Scope

## Slide 19
Summary of Learnings
  Gained hands-on experience in integrating embedded systems with IoT platforms
  Understood the process of data collection, transmission, and visualization using ThingSpeak
  Learned how to simulate sensor environments using Wokwi before hardware deployment
  Explored basic machine learning workflows including dataset creation, EDA, and LSTM model training
  Realized the potential of predictive analytics in enhancing safety systems
Key achievements
Successfully built a live hazardous monitoring system using Raspberry Pi Pico and BME680 sensor
  Developed a multi-version simulation for validation before hardware implementation
  Enabled real-time cloud data logging and visual alerts via OLED and buzzer
  Created a 7-day synthetic dataset to train an ML model for early anomaly detection
Conclusion

## Slide 20
Thank you